## Sheet1
The following is a calculator to help with the assessment of RFFS foam delivery performance testing (refer to OTAR 140).
Notes on using the calculator: This calculator is only as accurate as the information entered into it and should only be used as a gross error check rather than a completely accurate measurement of your truck's performance. The results need to be checked against Table 9-2, Annex 14 and your results should at least match or better those laid down in the table.
Please input appropriate information into all the boxes below:
Aerodrome |  |  | Stanley Airport
Vehicle |  |  | Ford F-550 4x4 CAT 3/H2 Appliance (F2127)
Test (e.g. monitor flow) |  |  | Rosenbauer RM15 Bumper Monitor used @ 12 Bar Pressure.
Type of Foam (e.g. AFFF 6%) |  |  | 3% PLB TRIDOL AFFF
Test conducted by (name) |  |  | Ian France-Michael Brownlee-Tobi Adeoye-Dominic Jaffray
Verified by (name) |  |  | Airport Fire & Rescue Watch Manager-Ian France
Date |  |  | Thursday 12th January 2017 09:15am
If the test is carried out using water instead of foam, first drain and store the foam concentrate. Avoid contamination of the foam for later re-use.
To test your truck's flow rate and foam proportion performance follow these steps:
Accurately verify the truck's water tank capacity in litres and fill the tank to that level
Enter the truck's water tank capacity here - |  |  |  | 1200 | litres
Accurately verify the truck's foam tank capacity and fill with water/foam to that level
Enter the truck's foam tank capacity here - |  |  |  | 150 | litres
Engage the foam system and pump the water tank empty. Measure the time it takes
Enter the time to discharge water tank here - |  |  |  | 63 | seconds
Accurately measure how much water was pumped out of the foam tank
Enter the quantity that was pumped from foam tank - |  |  |  | 40 | litres
The flow rate for this test is |  |  |  | 1180.9524 | litres/minute
Proportion of foam achieved for this test is |  |  |  | 3.3333 | %
Do these results accomodate two shots?
èè | èè | èè | You HAVE sufficient foam for a second shot |  |  | çç | çç | çç
Tools required a calibrated water flow meter or the availability of a vehicle weight scale